## Sheet1
RFT Ann McDonald
Killabban Maganey, Laois
Wire of New Build and power to garage
Main Cable & MCB Enclosure
Test & Cert
Earthing & Bonding
Consumer Unit
Porch
1 Ceiling Pendant
1 3 Gang Light Switch
1 Twin Socket
2 Intruder Window Contact (Wire Only)
1 Intruder Door Contact (Wire Only)
Lobby
1 Ceiling Pendant
2 1 Gang Light Switch
1 1 Gang Intermediate Light Switch
1 Twin Socket
1 Smoke Detector
1 Door Bell
1 Intruder Internal Sounder (Wire Only)
Back Lobby
1 Ceiling Pendant
1 1 Gang Light Switch
2 2 Gang Light Switch
1 Twin Socket
1 Intruder Door Contact (Wire Only)
1 Intruder Alarm Keypad (Wire Only)
Sitting Room
1 Ceiling Pendant
1 1 Gang Light Switch
4 Twin Socket
1 TV Outlet
1 Smoke Detector
1 Carbon Monoxide Detector
3 Intruder Window Contact (Wire Only)
Shower Room
1 Globe
1 Extractor Fan
1 Shaver Light
Coat Press
1 Ceiling Pendant
Utility
4 LED Downlight
1 1 Gang Light Switch
1 Twin Socket
4 Over Counter Twin Socket
1 Washing Machine Socket
1 Dryer Socket
1 Smoke Detector
1 Carbon Monoxide Detector
3 Intruder Window Contact (Wire Only)
Kitchen
13 LED Downlight
1 Under Counter Light
1 1 Gang Light Switch
1 3 Gang Light Switch
2 Over Counter Twin Socket
1 Cooker Hood Socket
1 Cooker Supply
1 Dishwasher Socket
1 Fridge Socket
1 Microwave Socket
2 Kitchen Island Socket
1 Carbon Monoxide Detector
Paul Connolly Electrical Contractor Ltd.
1 Heat Detector
2 Intruder Window Contact (Wire Only)
Breakfast Area
1 Ceiling Pendant
1 1 Gang Light Switch
1 Twin Socket
3 Intruder Window Contact (Wire Only)
Dining Room
1 Ceiling Pendant
1 1 Gang Light Switch
2 Twin Socket
1 TV Outlet
3 Intruder Window Contact (Wire Only)
1 Intruder Door Contact (Wire Only)
Living Room
1 Ceiling Pendant
1 1 Gang Light Switch
1 Room Stat
4 Twin Socket
1 TV Outlet
1 Smoke Detector
1 Carbon Monoxide Detector
3 Intruder Window Contact (Wire Only)
Landing
2 Ceiling Pendant
1 1 Gang Light Switch
1 3 Gang Light Switch
1 Twin Socket
1 Smoke Detector
1 Intruder Alarm PIR (Wiring)
Bedroom 2
1 Ceiling Pendant
1 1 Gang Light Switch
1 2 Gang Light Switch
3 Twin Socket
1 Smoke Detector
1 Carbon Monoxide Detector
Closet
1 Ceiling Pendant
1 Twin Socket
Bedroom 1
1 Ceiling Pendant
1 1 Gang Light Switch
1 2 Gang Light Switch
3 Twin Socket
1 Smoke Detector
Closet
2 LED Downlights
1 Twin Socket
Bathroom
1 Globe
1 Extractor Fan
1 Shaver Light
Ensuite
1 Globe
1 Extractor Fan
1 Shaver Light
1 Electric Shower
Dressing Room
4 LED Downlights
1 1 Gang Light Switch
4 Twin Socket
Master Bedroom
1 Ceiling Pendant
1 1 Gang Light Switch
1 2 Gang Light Switch
1 Room Stat
3 Twin Socket
1 TV Outlet
1 Smoke Detector
1 Carbon Monoxide Detector
Landing
1 Ceiling Pendant
1 1 Gang Intermediate Light Switch
1 Room Stat
1 Twin Socket
1 Smoke Detector
1 Intruder Alarm PIR (Wiring)
Gym/Office
2 Ceiling Pendant
1 1 Gang Light Switch
4 Twin Socket
1 Smoke Detector
1 Data Point
Storage
1 Ceiling Pendant
1 1 Gang Light Switch
3 Twin Socket
1 Smoke Detector
Shower Room
4 LED Downlights
1 Extractor Fan
1 Shaver Light
Heating
1 Timeclock
2 Pump
2 Underfloor Heating Manifold
Room Thermostats
1 Pipe Stat
1 Heat Pump
1 Backup Heater at Heat Pump
Chasing
External
4 Wall Lights (Wire Only)
1 Garage Power Supply
1 Percolation Power Supply
1 Bore Hole Well Supply
1 Intruder Alarm SAB (Wire Only)
16 Downlights on facia
Note: Quote must Include all equipment/fittings. with the exception of heating thermostats.